{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":3,"n_cols":6,"rows_kept":3,"flags":["formulas_cached_only"]}
["申请科室","设备名称","数量","单位","总预算（万元）","参数备注"]
["超声心动图科","超声心动图机",1,"台",300,"1.主要用于先天性心脏病介入手术，二尖瓣teer手术，主动脉瓣TAVI手术，三尖瓣介入手术；\n2.成人心脏、小儿心脏、新生儿心脏和胎儿心脏超声临床诊断应用支持实时二维和四维经胸和经食管超声心动图成像等。\n"]
["超声心动图科","床旁超声心动图机",1,"台",150,"1.用多普勒超声心动图技术评价心内血流的方向和速度对瓣膜阻塞性及反流性病变的定性和定量分析；\n2.高分辨力超声显示心脏、大血管和血流的影像。一次完整的经胸超声心动图检查包括多种超声显像技术的应用，如M-型超声、二维(2-D)超声和多普勒显像等。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}