{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["开发区分院"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"开发区分院","index":0,"n_rows":13,"n_cols":7,"rows_kept":13,"flags":["formulas_cached_only"]}
["序号","设备名称","数量","单位","单价\n（万元）","总额\n（万元）","备注"]
[1,"精子计数板",10,"台",1.2,12,"用于精子计数"]
[2,"负压吸引器",2,"台",8,16,"负压抽取卵子"]
[3,"ivf 电动床",6,"台",4.5,27,"整体自动升降，带头部和臀部升降"]
[4,"经阴道超声",2,"台","/",380,"自动卵泡检测，子宫动脉血流，内膜容受性，三维子宫造影，配置弯柄探头等"]
[5,"全自动化学发光免疫分析仪(带卵巢储备功能与青春度评估软件)",1,"台",6,6,"卵巢储备功能与青春度评估"]
[6,"手术室宫腹腔镜系统",1,"台",10,10,"1.\t该设备集膨宫，摄像，监视，吸引为一体，使用安装快捷高效。\n2.\t通过该设备科快速对患者做宫腔镜检查以及处理相关轻症。\n3.\t高清镜头百万像素，双泵联动设计可在术中保持视野持续清晰。\n4.\t镜体外径5mm,经患者可免麻醉，免扩宫，"]
[7,"核酸提取仪",1,"台",55,55,"生殖遗传室用于核酸提取"]
[8,"精子质量分析仪（男科实验室用）",2,"台",38,76,"精液分析室用，分析精子浓度、活力、形态等常规指标"]
[9,"精子质量分析仪（胚胎实验室用）",1,"台",32,32,"胚胎室用于观察精子"]
[10,"人工智能妇科阴道微生态辅助分析系统",1,"台",25,25,"妇科阴道微生态分析"]
[11,"一代测序仪",1,"台",100,100,"羊水、基因病筛查"]
[12,"基因芯片诊断项目",1,"台",280,280,"羊水、基因病筛查"]